## Apartment1
Floor | Item | Power_W | Quantity | Operating_Hours | Start_Hour | Category
Ground Floor | Chandelier Light 1 | 60 | 1 | 6 | 18 | Lighting
Ground Floor | Chandelier Light 2 | 40 | 1 | 6 | 18 | Lighting
Ground Floor | Chandelier Light 3 | 30 | 1 | 6 | 18 | Lighting
Ground Floor | POP Light for Rooms | 6 | 10 | 6 | 18 | Lighting
Ground Floor | Surface Mount Light | 18 | 4 | 6 | 18 | Lighting
Ground Floor | Kitchen POP Light | 10 | 2 | 6 | 18 | Lighting
Ground Floor | Round Multiple Light | 8 | 1 | 6 | 18 | Lighting
First Floor | Chandelier Light 3 | 30 | 1 | 6 | 18 | Lighting
First Floor | POP Light for Rooms | 6 | 20 | 6 | 18 | Lighting
First Floor | Surface Mount Light | 18 | 9 | 6 | 18 | Lighting
First Floor | Pendant Light | 10 | 2 | 6 | 18 | Lighting
Second Floor | Chandelier Light 3 | 30 | 1 | 6 | 18 | Lighting
Second Floor | POP Light for Rooms | 6 | 12 | 6 | 18 | Lighting
Second Floor | Surface Mount Light | 18 | 5 | 6 | 18 | Lighting
Second Floor | Pendant Light | 10 | 6 | 6 | 18 | Lighting
Ground Floor | Double Door Fridge | 300 | 1 | 24 | 0 | Appliances
Ground Floor | Chest Freezer | 391 | 1 | 24 | 0 | Appliances
Ground Floor | Oven | 2200 | 1 | 0.75 | 12 | Appliances
Ground Floor | Microwave | 900 | 1 | 0.5 | 12 | Appliances
Ground Floor | Electric Kettle | 800 | 1 | 1 | 12 | Appliances
Ground Floor | Electric Iron | 1200 | 1 | 0.5 | 12 | Appliances
Ground Floor | Extractor Fan | 100 | 2 | 24 | 0 | Appliances
Ground Floor | 1.5Hp LG Inverter AC | 1095 | 2 | 8 | 14 | Appliances
Ground Floor | 55inches Smart TV | 140 | 1 | 5 | 18 | Appliances
Ground Floor | Washing Machine | 2200 | 1 | 1 | 12 | Appliances
Ground Floor | Water Dispenser | 550 | 0.5 | 1 | 0 | Appliances
Ground Floor | Fans | 60 | 2 | 8 | 14 | Appliances
Ground Floor | General Use (Phone Charging, other appliances) | 300 | 1 | 12 | 18 | Appliances
First Floor | TV | 140 | 4 | 5 | 18 | Appliances
First Floor | 1.5Hp LG Inverter AC | 1095 | 3 | 8 | 14 | Appliances
First Floor | Fans | 60 | 3 | 8 | 14 | Appliances
First Floor | General Use (Phone Charging, other appliances) | 300 | 1 | 12 | 18 | Appliances
Second Floor | TV | 140 | 2 | 5 | 18 | Appliances
Second Floor | 1.5Hp LG Inverter AC | 1095 | 2 | 8 | 14 | Appliances
Second Floor | Fans | 60 | 3 | 8 | 14 | Appliances
Second Floor | General Use (Phone Charging, other appliances) | 300 | 1 | 12 | 18 | Appliances
Ground Floor | Heat Detector | 1.5 | 1 | 24 | 0 | Alarm
Ground Floor | Smoke Detector | 24 | 1 | 24 | 0 | Alarm
Ground Floor | Sounder | 2 | 2 | 24 | 0 | Alarm
First Floor | Smoke Detector | 24 | 8 | 24 | 0 | Alarm
First Floor | Sounder | 2 | 4 | 24 | 0 | Alarm
Second Floor | Smoke Detector | 2 | 3 | 24 | 0 | Alarm
Second Floor | Sounder | 3.5 | 1 | 24 | 0 | Alarm

## Apartment2
Floor | Item | Power_W | Quantity | Operating_Hours | Start_Hour | Category
Ground Floor | Chandelier Light 1 | 60 | 1 | 6 | 18 | Lighting
Ground Floor | Chandelier Light 2 | 40 | 1 | 6 | 18 | Lighting
Ground Floor | Chandelier Light 3 | 30 | 1 | 6 | 18 | Lighting
Ground Floor | POP Light for Rooms | 6 | 9 | 6 | 18 | Lighting
Ground Floor | Surface Mount Light | 18 | 4 | 6 | 18 | Lighting
Ground Floor | Kitchen POP Light | 10 | 2 | 6 | 18 | Lighting
Ground Floor | Round Multiple Light | 8 | 1 | 6 | 18 | Lighting
First Floor | Chandelier Light 3 | 30 | 2 | 6 | 18 | Lighting
First Floor | POP Light for Rooms | 6 | 18 | 6 | 18 | Lighting
First Floor | Surface Mount Light | 18 | 8 | 6 | 18 | Lighting
First Floor | Pendant Light | 10 | 2 | 6 | 18 | Lighting
Second Floor | Chandelier Light 3 | 30 | 1 | 6 | 18 | Lighting
Second Floor | POP Light for Rooms | 6 | 12 | 6 | 18 | Lighting
Second Floor | Surface Mount Light | 18 | 5 | 6 | 18 | Lighting
Second Floor | Pendant Light | 10 | 3 | 6 | 18 | Lighting
Ground Floor | Double Door Fridge | 300 | 1 | 24 | 0 | Appliances
Ground Floor | Chest Freezer | 391 | 1 | 24 | 0 | Appliances
Ground Floor | Oven | 2200 | 1 | 0.75 | 12 | Appliances
Ground Floor | Microwave | 900 | 1 | 0.5 | 12 | Appliances
Ground Floor | Electric Kettle | 800 | 1 | 1 | 12 | Appliances
Ground Floor | Electric Iron | 1200 | 1 | 0.5 | 12 | Appliances
Ground Floor | Extractor Fan | 100 | 2 | 24 | 0 | Appliances
Ground Floor | 1.5Hp LG Inverter AC | 1095 | 2 | 8 | 14 | Appliances
Ground Floor | 55inches Smart TV | 140 | 1 | 5 | 18 | Appliances
Ground Floor | Washing Machine | 2200 | 1 | 1 | 12 | Appliances
Ground Floor | Water Dispenser | 550 | 0.5 | 1 | 0 | Appliances
Ground Floor | Fans | 60 | 2 | 8 | 14 | Appliances
Ground Floor | General Use (Phone Charging, other appliances) | 300 | 1 | 12 | 18 | Appliances
First Floor | TV | 140 | 4 | 5 | 18 | Appliances
First Floor | 1.5Hp LG Inverter AC | 1095 | 3 | 8 | 14 | Appliances
First Floor | Fans | 60 | 3 | 8 | 14 | Appliances
First Floor | General Use (Phone Charging, other appliances) | 300 | 1 | 12 | 18 | Appliances
Second Floor | TV | 140 | 2 | 5 | 18 | Appliances
Second Floor | 1.5Hp LG Inverter AC | 1095 | 2 | 8 | 14 | Appliances
Second Floor | Fans | 60 | 3 | 8 | 14 | Appliances
Second Floor | General Use (Phone Charging, other appliances) | 300 | 1 | 12 | 18 | Appliances
Ground Floor | Heat Detector | 1.5 | 1 | 24 | 0 | Alarm
Ground Floor | Smoke Detector | 24 | 1 | 24 | 0 | Alarm
Ground Floor | Sounder | 2 | 2 | 24 | 0 | Alarm
First Floor | Smoke Detector | 2 | 4 | 24 | 0 | Alarm
First Floor | Sounder | 3.5 | 1 | 24 | 0 | Alarm
Second Floor | Smoke Detector | 2 | 3 | 24 | 0 | Alarm
Second Floor | Sounder | 3.5 | 1 | 24 | 0 | Alarm

## PentHouse
Floor | Item | Power_W | Quantity | Operating_Hours | Start_Hour | Category
Pent Floor 1 | Chandelier Light 1 | 60 | 1 | 6 | 18 | Lighting
Pent Floor 1 | Chandelier Light 2 | 40 | 3 | 6 | 18 | Lighting
Pent Floor 1 | POP Light for Rooms | 6 | 24 | 6 | 18 | Lighting
Pent Floor 1 | Surface Mount Light | 18 | 16 | 6 | 18 | Lighting
Pent Floor 1 | Kitchen POP Light | 10 | 4 | 6 | 18 | Lighting
Pent Floor 1 | Round Multiple Light | 8 | 1 | 6 | 18 | Lighting
Pent Floor 2 | Chandelier Light 1 | 60 | 1 | 6 | 18 | Lighting
Pent Floor 2 | Chandelier Light 3 | 30 | 3 | 6 | 18 | Lighting
Pent Floor 2 | POP Light for Rooms | 25 | 6 | 6 | 18 | Lighting
Pent Floor 2 | Surface Mount Light | 18 | 8 | 6 | 18 | Lighting
Pent Floor 2 | Round Multiple Light | 8 | 7 | 6 | 18 | Lighting
Pent Floor 1 | TV | 300 | 1 | 12 | 18 | Appliances
Pent Floor 1 | Double Door Fridge | 300 | 1 | 24 | 0 | Appliances
Pent Floor 1 | Chest Freezer | 391 | 1 | 24 | 0 | Appliances
Pent Floor 1 | Oven | 2200 | 1 | 0.75 | 12 | Appliances
Pent Floor 1 | Microwave | 900 | 1 | 0.5 | 12 | Appliances
Pent Floor 1 | Electric Kettle | 800 | 1 | 1 | 12 | Appliances
Pent Floor 1 | Electric Iron | 1200 | 1 | 0.5 | 12 | Appliances
Pent Floor 1 | Washing Machine | 2200 | 1 | 1 | 12 | Appliances
Pent Floor 1 | Water Dispenser | 550 | 0.5 | 1 | 0 | Appliances
Pent Floor 1 | Fans | 60 | 2 | 8 | 14 | Appliances
Pent Floor 1 | 1.5Hp LG Inverter AC | 1095 | 5 | 8 | 14 | Appliances
Pent Floor 1 | General Use (Phone Charging & Others) | 300 | 1 | 12 | 18 | Appliances
Pent Floor 2 | TV | 300 | 1 | 12 | 18 | Appliances
Pent Floor 2 | Fans | 60 | 1 | 8 | 14 | Appliances
Pent Floor 2 | 1.5Hp LG Inverter AC | 1095 | 3 | 8 | 14 | Appliances
Pent Floor 2 | General Use (Phone Charging & Others) | 300 | 1 | 12 | 18 | Appliances
Pent Floor 1 | Heat Detector | 1.5 | 1 | 24 | 0 | Alarm
Pent Floor 1 | Smoke Detector | 2 | 6 | 24 | 0 | Alarm
Pent Floor 1 | Sounder | 3.5 | 1 | 24 | 0 | Alarm
Pent Floor 2 | Smoke Detector | 2 | 4 | 24 | 0 | Alarm
Pent Floor 2 | Sounder | 3.5 | 1 | 24 | 0 | Alarm